## Form 1
|  |  | Excavation Checking Form |  |  |  | Form 1
Reference RFI No: CC-25 |  |  | NATALYA CONSTRUCTION |  | BROWN'S HOUSE PROJECT
Form no: Form 1 |  |  | Inspection date: 7/14/2018 |  | Inspection time: 2:15 AM
Unit: Barbeque area |  |  | System: Clean water |  | System: Above Ground Piping Works
Inspected Item Tag |  |  | AS
# | Inspection Description |  |  |  | Accepted |  |  | Rejected
1 | Excavation done as per approved drawings
2 | Excavation width is as per drawings
3 | Excavation depth is as per drawings
4 | Excavated soil is removed from site
If one of the inspection descripton is "Accepted with Punches" then Punch form should be filled
|  | CONTRACTOR |  | OWNER |  | THIRD PARTY
Name
Signature
Date (dd-mmm-yy)